## PLC Tags
Name | Path | Data Type | Logical Address | Comment | Hmi Visible | Hmi Accessible | Hmi Writeable | Typeobject ID | Version ID
Anti_Phase | Panel 1\Selector | Bool | %I0.0 |  | True | True | True
Reset | Panel 1\Selector | Bool | %I0.1 |  | True | True | True
Emergency_Stop | Panel 1\Selector | Bool | %I0.2 |  | True | True | True
Trip_TF_Pump_Aeration_Clarifier_01 | Panel 1\Alarm | Bool | %I0.3 |  | True | True | True
Trip_TF_Pump_Aeration_Clarifier_02 | Panel 1\Alarm | Bool | %I0.4 |  | True | True | True
Trip_Suction_Pump_01 | Panel 1\Alarm | Bool | %I0.5 |  | True | True | True
Trip_Suction_Pump_02 | Panel 1\Alarm | Bool | %I0.6 |  | True | True | True
Trip_Suction_Pump_03 | Panel 1\Alarm | Bool | %I0.7 |  | True | True | True
Trip_Suction_Pump_04 | Panel 1\Alarm | Bool | %I1.0 |  | True | True | True
Trip_Suction_Pump_05 | Panel 1\Alarm | Bool | %I1.1 |  | True | True | True
Trip_Suction_Pump_06 | Panel 1\Alarm | Bool | %I1.2 |  | True | True | True
Trip_Suction_Pump_07 | Panel 1\Alarm | Bool | %I1.3 |  | True | True | True
Trip_Suction_Pump_08 | Panel 1\Alarm | Bool | %I1.4 |  | True | True | True
Trip_Backwash_Pump_01 | Panel 1\Alarm | Bool | %I1.5 |  | True | True | True
Trip_Backwash_Pump_02 | Panel 1\Alarm | Bool | %I1.6 |  | True | True | True
Trip_Backwash_Pump_03 | Panel 1\Alarm | Bool | %I1.7 |  | True | True | True
Trip_Backwash_Pump_04 | Panel 1\Alarm | Bool | %I2.0 |  | True | True | True
Trip_Backwash_Pump_05 | Panel 1\Alarm | Bool | %I2.1 |  | True | True | True
Trip_MBR_Aeration_01 | Panel 1\Alarm | Bool | %I2.2 |  | True | True | True
Trip_MBR_Aeration_02 | Panel 1\Alarm | Bool | %I2.3 |  | True | True | True
Trip_Chlorine_Dosing_Pump | Panel 1\Alarm | Bool | %I2.4 |  | True | True | True
Trip_Chlorine_Chemical_Agitator | Panel 1\Alarm | Bool | %I2.5 |  | True | True | True
Trip_Solid_TF_Clarifier | Panel 1\Alarm | Bool | %I2.6 |  | True | True | True
Trip_UV_1P_01 | Panel 1\Alarm | Bool | %I2.7 |  | True | True | True
Trip_UV_1P_02 | Panel 1\Alarm | Bool | %I3.0 |  | True | True | True
Trip_UV_1P_03 | Panel 1\Alarm | Bool | %I3.1 |  | True | True | True
Trip_TF_Pump_CSAS_B_01 | Panel 1\Alarm | Bool | %I3.2 |  | True | True | True
Trip_TF_Pump_CSAS_B_02 | Panel 1\Alarm | Bool | %I3.3 |  | True | True | True
Trip_TF_Pump_Aeration_01 | Panel 1\Alarm | Bool | %I3.4 |  | True | True | True
Trip_TF_Pump_Aeration_02 | Panel 1\Alarm | Bool | %I3.5 |  | True | True | True
Trip_TF_Pump_RWT_MMF_01 | Panel 1\Alarm | Bool | %I3.6 |  | True | True | True
Trip_TF_Pump_RWT_MMF_02 | Panel 1\Alarm | Bool | %I3.7 |  | True | True | True
Trip_TF_Pump_Waterpool_Buffer_01 | Panel 1\Alarm | Bool | %I4.0 |  | True | True | True
Trip_TF_Pump_Waterpool_Buffer_02 | Panel 1\Alarm | Bool | %I4.1 |  | True | True | True
Trip_PAC_Flocculant_Dosing_Pump | Panel 1\Alarm | Bool | %I4.2 |  | True | True | True
Ready_TF_Pump_Aeration_Clarifier_01 | Panel 1\Ready | Bool | %I4.3 |  | True | True | True
Ready_TF_Pump_Aeration_Clarifier_02 | Panel 1\Ready | Bool | %I4.4 |  | True | True | True
Ready_Suction_Pump_01 | Panel 1\Ready | Bool | %I4.5 |  | True | True | True
Ready_Suction_Pump_02 | Panel 1\Ready | Bool | %I4.6 |  | True | True | True
Ready_Suction_Pump_03 | Panel 1\Ready | Bool | %I4.7 |  | True | True | True
Ready_Suction_Pump_04 | Panel 1\Ready | Bool | %I5.0 |  | True | True | True
Ready_Suction_Pump_05 | Panel 1\Ready | Bool | %I5.1 |  | True | True | True
Ready_Suction_Pump_06 | Panel 1\Ready | Bool | %I5.2 |  | True | True | True
Ready_Suction_Pump_07 | Panel 1\Ready | Bool | %I5.3 |  | True | True | True
Ready_Suction_Pump_08 | Panel 1\Ready | Bool | %I5.4 |  | True | True | True
Ready_Backwash_Pump_01 | Panel 1\Ready | Bool | %I5.5 |  | True | True | True
Ready_Backwash_Pump_02 | Panel 1\Ready | Bool | %I5.6 |  | True | True | True
Ready_Backwash_Pump_03 | Panel 1\Ready | Bool | %I5.7 |  | True | True | True
Ready_Backwash_Pump_04 | Panel 1\Ready | Bool | %I6.0 |  | True | True | True
Ready_Backwash_Pump_05 | Panel 1\Ready | Bool | %I6.1 |  | True | True | True
Ready_MBR_Aeration_01 | Panel 1\Ready | Bool | %I6.2 |  | True | True | True
Ready_MBR_Aeration_02 | Panel 1\Ready | Bool | %I6.3 |  | True | True | True
Ready_Chlorine_Dosing_Pump | Panel 1\Ready | Bool | %I6.4 |  | True | True | True
Ready_Chlorine_Chemical_Agitator | Panel 1\Ready | Bool | %I6.5 |  | True | True | True
Ready_Solid_TF_Clarifier | Panel 1\Ready | Bool | %I6.6 |  | True | True | True
Ready_UV_1P_01 | Panel 1\Ready | Bool | %I6.7 |  | True | True | True
Ready_UV_1P_02 | Panel 1\Ready | Bool | %I7.0 |  | True | True | True
Ready_UV_1P_03 | Panel 1\Ready | Bool | %I7.1 |  | True | True | True
Ready_TF_Pump_CSAS_B_01 | Panel 1\Ready | Bool | %I7.2 |  | True | True | True
Ready_TF_Pump_CSAS_B_02 | Panel 1\Ready | Bool | %I7.3 |  | True | True | True
Ready_TF_Pump_Aeration_Clarifier_01 | Panel 1\Ready | Bool | %I7.4 |  | True | True | True
Ready_TF_Pump_Aeration_Clarifier_02 | Panel 1\Ready | Bool | %I7.5 |  | True | True | True
Ready_TF_Pump_RWT_MMF_01 | Panel 1\Ready | Bool | %I7.6 |  | True | True | True
Ready_TF_Pump_RWT_MMF_02 | Panel 1\Ready | Bool | %I7.7 |  | True | True | True
Ready_PAC_Floculant_Dosing_Pump | Panel 1\Ready | Bool | %I8.0 |  | True | True | True
Ready_TF_Pump_Waterpool_Buffer_01_Main | Panel 1\Ready | Bool | %I8.1 |  | True | True | True
Ready_TF_Pump_Waterpool_Buffer_01_Delta | Panel 1\Ready | Bool | %I8.2 |  | True | True | True
Ready_TF_Pump_Waterpool_Buffer_01_Star | Panel 1\Ready | Bool | %I8.3 |  | True | True | True
Ready_TF_Pump_Waterpool_Buffer_02_Main | Panel 1\Ready | Bool | %I8.4 |  | True | True | True
Ready_TF_Pump_Waterpool_Buffer_02_Delta | Panel 1\Ready | Bool | %I8.5 |  | True | True | True
Ready_TF_Pump_Waterpool_Buffer_02_Star | Panel 1\Ready | Bool | %I8.6 |  | True | True | True
Floater_Switch_01 | Panel 1\Level | Bool | %I8.7 |  | True | True | True
Floater_Switch_02 | Panel 1\Level | Bool | %I9.0 |  | True | True | True
Floater_Switch_03 | Panel 1\Level | Bool | %I9.1 |  | True | True | True
Floater_Switch_04 | Panel 1\Level | Bool | %I9.2 |  | True | True | True
Floater_Switch_05 | Panel 1\Level | Bool | %I9.3 |  | True | True | True
Floater_Switch_06 | Panel 1\Level | Bool | %I9.4 |  | True | True | True
Floater_Switch_07 | Panel 1\Level | Bool | %I9.5 |  | True | True | True
Floater_Switch_08 | Panel 1\Level | Bool | %I9.6 |  | True | True | True
Floater_Switch_09 | Panel 1\Level | Bool | %I9.7 |  | True | True | True
Auto_Manual | Panel 1\Selector | Bool | %Q0.0 |  | True | True | True
Command_Auto | Panel 1\Selector | Bool | %Q0.1 |  | True | True | True
Command_Manual | Panel 1\Selector | Bool | %Q0.2 |  | True | True | True
Buzzer | Panel 1\Alarm | Bool | %Q0.3 |  | True | True | True
Run_TF_Pump_Aeration_Clarifier_01 | Panel 1\Run | Bool | %Q0.4 |  | True | True | True
Run_TF_Pump_Aeration_Clarifier_02 | Panel 1\Run | Bool | %Q0.5 |  | True | True | True
Run_Suction_Pump_01 | Panel 1\Run | Bool | %Q0.6 |  | True | True | True
Run_Suction_Pump_02 | Panel 1\Run | Bool | %Q0.7 |  | True | True | True
Run_Suction_Pump_03 | Panel 1\Run | Bool | %Q1.0 |  | True | True | True
Run_Suction_Pump_04 | Panel 1\Run | Bool | %Q1.1 |  | True | True | True
Run_Suction_Pump_05 | Panel 1\Run | Bool | %Q1.2 |  | True | True | True
Run_Suction_Pump_06 | Panel 1\Run | Bool | %Q1.3 |  | True | True | True
Run_Suction_Pump_07 | Panel 1\Run | Bool | %Q1.4 |  | True | True | True
Run_Suction_Pump_08 | Panel 1\Run | Bool | %Q1.5 |  | True | True | True
Run_Backwash_Pump_01 | Panel 1\Run | Bool | %Q1.6 |  | True | True | True
Run_Backwash_Pump_02 | Panel 1\Run | Bool | %Q1.7 |  | True | True | True
Run_Backwash_Pump_03 | Panel 1\Run | Bool | %Q2.0 |  | True | True | True
Run_Backwash_Pump_04 | Panel 1\Run | Bool | %Q2.1 |  | True | True | True
Run_Backwash_Pump_05 | Panel 1\Run | Bool | %Q2.2 |  | True | True | True
Run_MBR_Aeration_01 | Panel 1\Run | Bool | %Q2.3 |  | True | True | True
Run_MBR_Aeration_02 | Panel 1\Run | Bool | %Q2.4 |  | True | True | True
Run_Chlorine_Dosing_Pump | Panel 1\Run | Bool | %Q2.5 |  | True | True | True
Run_Chlorine_Chemical_Agitator | Panel 1\Run | Bool | %Q2.6 |  | True | True | True
Run_Solid_TF_Clarifier | Panel 1\Run | Bool | %Q2.7 |  | True | True | True
Run_UV_1P_01 | Panel 1\Run | Bool | %Q3.0 |  | True | True | True
Run_UV_1P_02 | Panel 1\Run | Bool | %Q3.1 |  | True | True | True
Run_UV_1P_03 | Panel 1\Run | Bool | %Q3.2 |  | True | True | True
RUN_TF_PUMP_CSAS_B_01 | Panel 1\Run | Bool | %Q3.3 |  | True | True | True
RUN_TF_PUMP_CSAS_B_02 | Panel 1\Run | Bool | %Q3.4 |  | True | True | True
Run_TF_Pump_Aeration_Clarifier_01 | Panel 1\Run | Bool | %Q3.5 |  | True | True | True
Run_TF_Pump_Aeration_Clarifier_02 | Panel 1\Run | Bool | %Q3.6 |  | True | True | True
Run_TF_Pump_RWT_MMF_01 | Panel 1\Run | Bool | %Q3.7 |  | True | True | True
Run_TF_Pump_RWT_MMF_02 | Panel 1\Run | Bool | %Q4.0 |  | True | True | True
Run_PAC_Flocculant_Dosing_Pump | Panel 1\Run | Bool | %Q4.1 |  | True | True | True
Run_TF_Pump_Waterpool_Buffer_01 | Panel 1\Run | Bool | %Q4.2 |  | True | True | True
Run_TF_Pump_Waterpool_Buffer_02 | Panel 1\Run | Bool | %Q4.3 |  | True | True | True
Solenoid_01 | Panel 1\Solenoid | Bool | %Q4.4 |  | True | True | True
Solenoid_02 | Panel 1\Solenoid | Bool | %Q4.5 |  | True | True | True
Solenoid_03 | Panel 1\Solenoid | Bool | %Q4.6 |  | True | True | True
Solenoid_04 | Panel 1\Solenoid | Bool | %Q4.7 |  | True | True | True
Solenoid_05 | Panel 1\Solenoid | Bool | %Q5.0 |  | True | True | True
Solenoid_06 | Panel 1\Solenoid | Bool | %Q5.1 |  | True | True | True
Solenoid_07 | Panel 1\Solenoid | Bool | %Q5.2 |  | True | True | True
Solenoid_08 | Panel 1\Solenoid | Bool | %Q5.3 |  | True | True | True
Solenoid_09 | Panel 1\Solenoid | Bool | %Q5.4 |  | True | True | True
Solenoid_10 | Panel 1\Solenoid | Bool | %Q5.5 |  | True | True | True
Solenoid_11 | Panel 1\Solenoid | Bool | %Q5.6 |  | True | True | True
Solenoid_12 | Panel 1\Solenoid | Bool | %Q5.7 |  | True | True | True
Solenoid_13 | Panel 1\Solenoid | Bool | %Q6.0 |  | True | True | True
Solenoid_14 | Panel 1\Solenoid | Bool | %Q6.1 |  | True | True | True
Solenoid_15 | Panel 1\Solenoid | Bool | %Q6.2 |  | True | True | True
Solenoid_16 | Panel 1\Solenoid | Bool | %Q6.3 |  | True | True | True
Solenoid_17 | Panel 1\Solenoid | Bool | %Q6.4 |  | True | True | True
Solenoid_18 | Panel 1\Solenoid | Bool | %Q6.5 |  | True | True | True
Spare_DO_01 | Panel 1\Spare | Bool | %Q6.6 |  | True | True | True
Spare_DO_02 | Panel 1\Spare | Bool | %Q6.7 |  | True | True | True
Spare_DO_03 | Panel 1\Spare | Bool | %Q7.0 |  | True | True | True
Not_Used_DO_01 | Panel 1\Spare | Bool | %Q7.1 |  | True | True | True
Not_Used_DO_02 | Panel 1\Spare | Bool | %Q7.2 |  | True | True | True
Not_Used_DO_03 | Panel 1\Spare | Bool | %Q7.3 |  | True | True | True
Not_Used_DO_04 | Panel 1\Spare | Bool | %Q7.4 |  | True | True | True
Not_Used_DO_05 | Panel 1\Spare | Bool | %Q7.5 |  | True | True | True
Not_Used_DO_06 | Panel 1\Spare | Bool | %Q7.6 |  | True | True | True
Not_Used_DO_07 | Panel 1\Spare | Bool | %Q7.7 |  | True | True | True

## TagTable Properties
Path | BelongsToUnit | Accessibility
Panel 1\Selector
Panel 1\Alarm
Panel 1\Ready
Panel 1\Level
Panel 1\Run
Panel 1\Solenoid
Panel 1\Spare